FAQ-DLM-536      Frequently Ask Questions for DLM-536

Does it have a date & time clock?

A:   Yes, it has date and time clock as Fiq. 1.

Fiq. 1

If so, can the clock be set to the correct date & time by the user?

A :  You can  reset  “ SYSTEM  TIME  SET” for the correct date and time as Fig 2.

Fig 2

Can the time between samples be set as long as 30 minutes?

If not, then what is the longest sample interval that can be set?

A:  Real Time Sampling time from 1 sec to 65 sec. as Fiq. 3

Fiq 3.

B. Logger Sampling Time for 30 minutes (1,800 sec)

Does it log the date and time against each sample taken?

Exactly what type of battery does it use?

One 9 Voit battery,NEDA 1604 or JIS 006P or IEC6F22

What current (Ampere) does it require?

Approx. 100mA    Battery Life (typical):  50hours ( Alkaline Battery )

If the battery runs out (or becomes disconnected), are all the collected data points lost?

There is Back up CR2032 Battery to protect the collected data points.

TECPEL CO., LTD.

4F-1, No. 225, Sec. 3, Heping East Rd.,

11056 Taipei, Taiwan, R. O. C.

http://www.tecpel.com

E-mail: sales@tecpel.com

Jan. 18, 2005